Operational Status

- Last Backwash Date and Water Color

- Flow Meter 1 Reading (bleed if needed)

- Flow Meter 2 Reading (bleed if needed)

- In-Fluent Pressure Tank A Reading

- Effluent Pressure Tank A Reading

- In-Fluent Pressure Tank B Reading

- Effluent Pressure Tank B Reading

- Electronic Units Status & Readings

- Pump Strainer Water Level (air / no air)

- Pump Strainer Clear Of Leaves & Obstructions (yes / no)

- Pump Sound (normal / not normal)

- Cavitation Sound (yes / no)

Maintenance Condition

- Sand Install Date Tag Legible		Date:

- Pump Install Date Tag Legible		Date:

- Electronics Install Date Tag Legible	Date:

- Pump Room Instructions Present

- Instructions Complete & Legible

- All Meters Labeled & Working

- All Valves Labeled & Working

- Power Panel Labeled & Working

- Electronic Panel Labeled & Working

- Chlorinator Labeled & Working

Comments